Name: _________________________________________________________________

Activity 5.1.4 Fertilizer Loss

Purpose

In Activity 5.1.3 Interactive Pollutants, you learned how nitrogen runoff affects a watershed. What factors in a field can affect the amount of nitrogen lost?

All agriculturalists face different environmental problems. The problems vary based upon location, crops raised, management practices, and ecosystems. Farmers consider these factors when managing their land to raise food while protecting the environment. Their knowledge of soils, water, and fertilizer all affect environmental systems within their watershed. The texture of the soil will affect permeability and runoff. Smaller soil sediments have the capability of holding on to nutrients, reducing loss of nutrient in water runoff.

How does soil texture affect nitrogen runoff? How can soil texture be used to select management practices?

Materials

| Per group of four students: Laboratory tape Permanent marker 4 funnels 4 coffee filters 2 plastic spoons Liquid fertilizer in cup 2 graduated cups 4 100ml beakers LabQuest2 Vernier nitrate sensor (ISE) Nitrate high standard solution Nitrate low standard solution 2 400ml beaker of distilled water 2 100ml graduated cylinders Distilled water in rinse bottle 250ml rinse beaker Paper towels | Per class: 1-gallon bucket of sand 1-gallon bucket of sandy loam soil Per student: Pencil PPE ESI Notebook Laboratory Notebook |
| --- | --- |

Procedure

Work with a group to compare the effect of soil texture on nutrient runoff. One pair in the group will collect nitrate runoff from one soil texture with no fertilizer and with fertilizer added. The other pair will conduct the same test on a different soil texture. Then work as a group to test nitrate concentrations for all runoff samples.

Part One – Soil Setup

Decide which pair in your group will collect runoff from sand and which pair will collect runoff from sandy loam soil. Collect the necessary soil sample and equipment.

Working with your partner, use laboratory tape and a permanent maker to label one funnel fertilizer and the second no fertilizer.

Label two 100ml beakers fertilizer and no fertilizer.

Place the corresponding funnel on each 100ml beaker.

Place a coffee filter in each funnel.

Fill each funnel ¾ full with the type of soil you are testing.

Add 30ml of distilled water to the funnel marked no fertilizer.

Use a graduated cup to measure and pour 30ml of liquid fertilizer into the funnel marked fertilizer.

Part Two – Runoff Collection

- Fill a 400ml beaker approximately half full with distilled water to use for pouring water through the funnel apparatus.

- Measure100ml of the distilled water using the graduated cylinder.

- Pour 100ml of distilled water from the graduated cylinder into the funnel.

- Collect the runoff from the funnel in the 100ml beaker.

- Repeat Steps 2 – 4 until 50ml of runoff water is collected in the 100ml beaker.

- Repeat Steps 2 – 5 for the unfertilized sample.

Part Three – Sensor Calibration

Work with your group of four to measure the nitrate concentration of the four samples.

Your teacher will have the Nitrate Ion-Selective Electrode (ISE) in the nitrate high standard solution for at least 30 minutes before class. Note: Make sure the ISE is not resting on the bottom of the container, and that the small white reference contacts are immersed. Make sure no air bubbles are trapped below the ISE.

First Point Calibration

- Ensure the ISE is in the nitrate high standard solution and connect the sensor to the LabQuest2.

Choose Calibrate from the Sensors menu and select Calibrate Now.

Enter 100 as the concentration of the standard in mg/L NO3 – -N for Reading 1.

When the voltage reading stabilizes, tap Keep.

| Second Calibration Point - Remove the ISE from the nitrate high standard solution. Rinse the ISE thoroughly with distilled water over the rinse beaker and gently blot it dry with a tissue or paper towel. Note: Failure to carefully rinse and dry the ISE will contaminate the standard. Place the tip of the ISE into the low standard solution (1 mg/L NO3 – -N). Note: Be sure that the ISE is not resting on the bottom of the bottle and that the small white reference contacts are immersed as seen in Figure 1. Make sure no air bubbles are trapped below the ISE. Enter 1 as the concentration of the standard in mg/L NO3 – -N for Reading 2. |  |
| --- | --- |
|  | Figure 1. ISE in Bottle |

After briefly swirling the solution with ISE sensor, hold the ISE still and wait approximately 60 seconds for the voltage reading to stabilize.

When the voltage reading stabilizes, tap Keep.

Save Sensor Calibration

- Select the Storage tab.

Tap Save Calibration to Sensor and follow the onscreen instructions to save the calibration.

Tap OK.

Rinse the ISE with distilled water into a rinse beaker and gently dry the sensor with paper towels.

Part Four – Runoff Testing

- Draw Table 1 in your Laboratory Notebook to record your results.

| Table 1. Nitrate Concentration |  |  |  |
| --- | --- | --- | --- |
| Soil Texture | Nitrate mg/L |  | Change in Concentration (No Fertilizer – Fertilizer) |
|  | No Fertilizer | Fertilizer |  |
| Sand |  |  |  |
| Sandy loam |  |  |  |

- Place the tip of the ISE into the runoff from sand with no fertilizer. Note: Make sure the small white reference contacts are immersed, and that the ISE is not resting on the bottom of beaker. Be sure no air bubbles are trapped below the ISE.

Briefly swirl the solution with the ISE.

Hold the ISE still and wait approximately 60 seconds for it to stabilize. Note: If the reading is stable at 1 mg/L and has not changed, the calibration was not saved and will need to be repeated.

Once the ISE reading has stabilized, record the value of the runoff from sand with no fertilizer in your Laboratory Notebook.

Rinse the tip of the ISE thoroughly with distilled water into the rinse beaker and gently blot dry with paper towel.

Repeat Steps 2 – 6 for the runoff for the remaining samples.

Rinse the tip of the ISE thoroughly with distilled water into the rinse beaker, gently dry it, and store it properly in the long-term storage bottle containing a moist sponge as instructed by your teacher.

Calculate the change in nitrate concentration after the fertilizer application for each soil texture. Record the change in concentration in your table.

Conclusion

- What is the relationship between soil texture and nitrate runoff?

- How can soil characteristics affect pollution of an ecosystem?

- What precautions can producers take to avoid polluting the environment?

- What conservation techniques can a producer use to fertilize a sandy soil?