Activity 3.1.2 Where’s the Protein?

Purpose

Proteins are composed of amino acids. All amino acids have a carboxyl group, an amino group, and a central or alpha carbon. The central carbon of each amino acid contains a side chain that is often referred to as an R-group.

| Amino acids form polymers when the carboxyl group and amino group of two amino acids form a peptide bond as shown in Figure 1. Water and a dipeptide are formed in the reaction. More amino acids can be added to the carboxyl group of this dipeptide until a polypeptide, a protein, is formed. |  |
| --- | --- |
|  | Figure 1. Protein Structure |

The Bradford assay is used to determine the protein content of unknown samples. The Bradford assay is an extremely sensitive assay for protein. Bradford reagent contains a dye called Coomassie G-250 that can interact with the R-group of specific amino acids. One of your samples is milk. The dominant protein in milk is called casein, which is composed of 224 amino acids. Thirteen of these amino acids react with the dye in the Bradford reagent. These reactive amino acids include one tryptophan, four arginines, four tyrosines, and four histidines.

When the dye in the Bradford reagent interacts with these specific amino acids, it turns the solution blue. The greater the concentration of protein in solution, the deeper the color will be. If a set of known protein concentrations are allowed to react with a known concentration of Bradford reagent, the absorbance of the resulting solutions can be measured to develop a standard curve.

| When a graph of absorbance vs. concentration is plotted for the standard solutions, a direct relationship should result, as shown in Figure 2. The direct relationship between absorbance and concentration for a solution is known as Beer’s law. To determine the protein concentration of an unknown solution, it is possible measure its absorbance and see where it falls on the standard curve. Because the relationship is linear, the protein concentration can be calculated using the formula for the standard curve. How does protein content vary among protein based drinks? Use a standard curve to compare the protein in various drinks. |  |
| --- | --- |
|  | Figure 2. Standard Curve |

Materials

| Per group of four students: 9 1.5ml cuvettes with caps Lint-free tissue 3 15ml centrifuge tubes Test tube rack 3 disposable transfer pipets 10ml graduated cylinder 2 1.5ml microcentrifuge tubes Microtube rack 2-20µl micropipet Micropipet tips Waste container Quick Start Bradford Reagent Phosphate buffered saline (PBS) Bovine γ-globulin standard set Laboratory marking pen | Per class: LabQuest® 2 interface SpectroVis® Plus Milk (lowfat or nonfat) High protein drink |
| --- | --- |
|  | Per student: PPE Pen Laboratory Notebook Agriscience Notebook |

Procedure

In this activity you will work in a group of four students to determine the protein content of milk and a high protein drink. Prepare your samples, then use the SpectroVis® Plus according to the schedule your teacher provides.

Part One – Bradford Assay

Obtain three 15ml centrifuge tubes.

Label one tube PBS and add 10ml of Phosphate Buffered Solution (PBS).

Label the other two tubes BR and add 15ml of Quick Start Bradford Reagent to each.

Obtain two 1.5ml tubes.

Label one tube M and add 980µl of PBS. Then add 20µl of milk.

Label the other tube HP and add 980µl of PBS. Then add 20µl of high protein drink.

Obtain seven empty cuvettes with caps and a set of Bovine γ-globulin standards to mix a set of protein standards. Handle cuvettes only by the top edge of the ribbed sides. Dislodge any bubbles by gently tapping the cuvette on a hard surface.

Label the cuvettes as follows.

| 2.0 | 0.5 |
| --- | --- |
| 1.5 | 0.25 |
| 1.0 | 0.125 |
| 0.75 |  |

Transfer 1ml of Bradford reagent into each cuvette.

Add 20µl of solution from the 2.0mg/ml standard into the cuvette labeled 2.0. Cap the cuvette and gently invert the cuvette three times.

Add 20µl of solution from the 1.5mg/ml standard into the cuvette labeled 1.5. Cap the cuvette and gently invert the cuvette three times.

Add 20µl of solution from the 1.0mg/ml standard into the cuvette labeled 1.0. Cap the cuvette and gently invert the cuvette three times.

Add 20µl of solution from the 0.75mg/ml standard into the cuvette labeled 0.75. Cap the cuvette and gently invert the cuvette three times.

Add 20µl of solution from the 0.5mg/ml standard into the cuvette labeled 0.50. Cap the cuvette and gently invert the cuvette three times.

Add 20µl of solution from the 0.25mg/ml standard into the cuvette labeled 0.25. Cap the cuvette and gently invert the cuvette three times.

Add 20µl of solution from the 0.125mg/ml standard into the cuvette labeled 0.125. Cap the cuvette and gently invert the cuvette three times.

Obtain two empty cuvettes with caps and the 1.5ml tubes labeled M and HP.

Transfer 1ml of Bradford reagent into each cuvette.

Label one cuvette with an M and add 20µl from tube M. Cap the cuvette and gently invert the cuvette three times.

Label the other cuvette HP and add 20µl from tube HP. Cap the cuvette and gently invert the cuvette three times.

Gather the SpectroVis® Plus and LabQuest® and allow the apparatus to warm up if it has not been used by another group during this class period.

Prepare Table 1 in your notebook.

| Table 1. Concentration and Absorbance |  |
| --- | --- |
| Protein Concentration (mg/ml) | Absorbance |
| 2.000 |  |
| 1.500 |  |
| 1.000 |  |
| 0.750 |  |
| 0.500 |  |
| 0.250 |  |
| 0.125 |  |
| Linear Fit for Standard Curve: _____________________ |  |

Set up the data-collection mode to determine the optimum wavelength for examining the absorbance of the Bradford reagent when it is bound to protein.

Wipe the outside of cuvette M with a lint-free tissue. Gently invert cuvette M twice and then place it into the SpectroVis® Plus. Always position the cuvette so the light passes through the clear sides.

Start data collection. A full spectrum graph of the solution will be displayed. Note that one area of the graph contains a peak absorbance. Stop data collection. The wavelength of maximum absorbance ( max) is automatically identified.

Tap the Meter tab. On the Meter screen, tap Mode. Change the mode to Events with Entry.

Enter the Name (Concentration) and Units (mg/ml). Select OK. Proceed to Step 9.

You are now ready to collect absorbance data for the seven protein standards.

Start data collection.

Obtain the cuvette labeled 2.0. Wipe the outside with a tissue and place it in the device.

Wait for the absorbance value displayed on the screen to stabilize, then tap Keep. Enter 2.00 as the concentration, and then select OK.

The data pair you just collected will now be plotted on the graph. Remove the cuvette from the device.

Obtain the cuvette labeled 1.5. Wipe the outside and place it in the device. When the absorbance value stabilizes, tap Keep, enter 1.50, and select OK.

Repeat the procedure for the remaining protein standards. When you have finished with the 0.125mg/ml standard solution, stop data collection.

To examine the data pairs on the displayed graph, tap any data point. As you tap each data point, the absorbance and concentration values are displayed to the right of the graph. In your Laboratory Notebook, record the absorbance values for Table 1.

Display a graph of absorbance vs. concentration with a linear regression curve.

Choose Curve Fit from the Analyze menu.

Select Linear as the Fit Equation. The linear-regression statistics for these two data columns are displayed for the equation in the form

y = mx + b

- where x is concentration, y is absorbance, m is the slope, and b is the y-intercept.

In Table 1, record the equation of this line in the space provided.

Select OK. A best-fit linear regression line will be shown for your data points. This line should pass near or through the data points.

Tap the Meter tab.

You are now ready to determine the absorbance values of your unknowns. Obtain the cuvette labeled M. Wipe the outside of the cuvette and place it in the device. When the displayed absorbance value stabilizes, record the value in Table 2.

Repeat Step 13for the cuvette labeled HP. Leave the cuvette labeled HP in the SpectroVis® Plus.

To determine the concentration of the unknowns, interpolate along the regression line to convert the absorbance values of the unknowns to concentration values. Follow the steps below to determine the concentration.

Tap the Graph tab.

Choose Interpolate from the Analyze menu.

Tap any point on the regression curve (or use the ◄ or ► keys on LabQuest®) to find the absorbance value that is closest to the absorbance reading you obtained for the cuvette labeled M. The protein concentration in mg/ml will be displayed to the right of the graph.

Record the concentration value in your data table.

Find the concentration value of the HP solution.

Return the LabQuest® 2 interface and SpectroVis® Plus, still powered up, according to your teacher’s directions for the next group to use.

Place the 15ml tubes with remaining PBS and Bradford reagent in storage for use in the next activity.

Clean up your work area according to your teacher’s instructions.

Part Two – Data and Calculations

Determine the protein content of samples. Perform the calculations as needed.

- Prepare Table 2 in your Laboratory Notebook.

| Table 2. Protein Samples |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Samples | Absorbance | Protein concentration (mg/ml) |  | Actual concentration (mg/ml) | Concentration from label (mg/ml) |
| Milk |  |  |  |  |  |
| High Protein |  |  |  |  |  |
| Calculated protein concentrations from linear fit |  |  |  |  |  |
| Milk |  |  |  |  |  |
| High Protein |  |  |  |  |  |

Determine the actual protein concentration of your samples. Remember that you diluted your original milk and high-protein samples by a factor of 50 before conducting the Bradford assay. Multiply the protein concentration that you observed for each sample by 50 to get the actual protein concentration of your sample. Record this value in the space provided in Table 2 in your notebook.

Obtain the published protein values for each sample from your instructor. These values are typically found on the nutrition labels of the milk or protein drink container. Convert the published values to mg/ml of protein. To do this, divide the amount of protein per serving by the volume of each serving. You may need to convert from fluid ounces to ml. Write these values down in the space provided in Table 2 in your notebook.

Calculate the actual protein concentration of each sample using the formula for the standard curve. Use the absorbance that you observed for each sample as your y value and then solve for x. Multiply the resulting value by 50 to get the actual protein concentration. Write these two numbers down in the space provide in Table 2 in your notebook.

Part Three – Analysis Questions

Write a paragraph for each of the following sets of questions in your Laboratory Notebook.

- Determine the protein content information provided on the labels. Compare the protein values that you observed for each sample to the published protein values. Are the values close? If they are not, can you think of any reason why they would be different?

Did the Bradford reagent turn a blue color in the presence of non-fat milk protein? If it did, can you explain why it would do this? What about the 1% solution of the amino acid tryptophan? Did the Bradford reagent react with this amino acid even though it is not a protein? Can you explain why this would happen?

Conclusion

- Does the Bradford assay indicate the presence or the concentration of the protein? Why?

- What other items could you test using the Bradford assay?

Source: Melville, J.M., Volz, D.L., & Collins, M. (2012). Investigating biology through inquiry: Investigating Protein – the Bradford assay. Beaverton, OR: Vernier Software and Technology.