## Slide 2: Ohm’s Law
Agricultural Power and Technology
Unit 5 – Lesson 5.2 Electrical Energy

## Slide 3: Electrical Measurements
Electrical power can not be visibly seen, but can be measured using the correct type of equipment.
Electrical power can be calculated using the following measurements.
  Amps
  Volts
  Resistance
Notes: Electrical energy is measured in amps, volts, and resistance.

## Slide 4: Amperage
Amperage or amps is the flow of electricity through a circuit.
  Like the flow of water through a hose.
  What has a greater “amperage”.
    A fire hose or a garden hose?
Notes: Amperage is the flow of electrons through the circuit. The greater number of electrons flowing through the circuit, the greater the amperage. A fire hose has much larger volume of water because of the size of the hose, therefore it has a greater amperage.

## Slide 5: Resistance
Resistance is the tendency for a material to prevent electrical flow.
  Resistance is measured in ohms.
  The omega symbol (Ω) is used to represent ohms.
  What has more resistance:
    A hose with a large opening or a sprinkler with a small openings?
Notes: Resistance is what slows the flow of electricity. The smaller the material the electrons are flowing through, the greater the resistance. The sprinkler resists the flow of water and therefore has a greater resistance.

## Slide 6: Volts
Volts or voltage is the measurement of electrical pressure.
  The greater the resistance, the greater the pressure.
  Which will have more voltage?
    The sprinkler or the garden hose?
Notes: Voltage is the measurement of electrical pressure. Electrical pressure is how forceful the electricity is as it flows through the circuit. The sprinkler increases the resistance, which increases the pressure of the water.

## Slide 7: Ohm’s Law
Defines the relationship between volts, amps, and ohms.
Mathematical equation:
Ohms (Ω) = Voltage
Amperage
Notes: Ohms is found by dividing the number of volts by the number of amps in a circuit.

## Slide 8: Ohm’s Law
You can use Ohm’s Law to solve for amperage and voltage as well using rearranging the equation.
Notes: The equation can be written differently to solve for amperage and voltage.

## Slide 9: References
Herren, R. (2006). Agricultural mechanics fundamentals and applications. (5th ed.). Clifton Park, NY: Thomson Delmar Learning.
Hoerner, H. (2000). Basic electricity and practical wiring. Minneapolis, MN: Hobar Publications.