Lab 2:  Arterial line Videos						2020

This is for your learning for exams and clinical.  For the HESI Skills listed utilize the LMS HESI calendar & HESI Across the Module sheet.  Study guide answers will be released on LMS before Muddy Waters #2.

For questions contact Ms. Kilpatrick

HESI Skills: Critical Care Collection

- Arterial Catheter Insertion (assisting) Care, and Removal - review the extended sheet and take the quiz

HESI Skills Respiratory Collection

- Arterial Catheter Blood Sampling - review the extended sheet and take the quiz

# https://youtu.be/cw-NLUmHTv4  Arterial Line Removal Nursing Lecture (2016) live demonstration of arterial line removal on actual patient

# https://www.youtube.com/watch?v=9YzmimDY15s  Safe Set System from ICUmed 2012

Optional Videos

https://youtu.be/zfQf-KK5mCc Arterial Lines (Guide for Nursing Students by K. Sun, Army of Nurses  (2015) (25.3 min)  Explanations and visuals are good and easy to follow

https://youtu.be/aJmQepDWVqw Transducers in Invasive Pressure Monitoring (2016) (8.41 min) Basics of how a transducer works & why being level with phlebostatic axis is important.  See video at 4.20 minutes.  Note:  Heparin is not used with NS for adult patents

https://youtu.be/1naupO0IZOQ  Arterial Line Management & Nursing Care (2017) Mometrix.com (7.5 minute)   Good illustrations & explanations

Arterial Lines Exam & Clinical Study Guide		Kilpatrick		2020

- How many mmHg should the pressure bag be maintained?

300 mm Hg

- List two reasons a patient would need an arterial line.

- Frequent lab draws

- Continuous BP monitoring

- What neurovascular and peripheral vascular assessments should be performed on a patient with an arterial line.

pain, pallor, paresthesia, paralysis, poikilothermia, pulses and temperature

- What medications can be given through an arterial line?

None with the exception of liver cancer patients with arterial line directly into the liver

- What is the phlebostatic access and how does it relate to the arterial line transducer?

Phlebostatic axis is approximately the same level as the heart. Transducer must be level with phlebostatic axis for accurate reading of BP.

- List three things to assess and document for arterial line removal

-6 P’s

-Catheter tip (intact)

-No bleeding at site