Lab 2:  Arterial line Videos						2020

This is for your learning for exams and clinical.  For the HESI Skills listed utilize the LMS HESI calendar & HESI Across the Module sheet.  Study guide answers will be released on LMS before Muddy Waters #2.

For questions contact Ms. Kilpatrick

HESI Skills: Critical Care Collection

- Arterial Catheter Insertion (assisting) Care, and Removal - review the extended sheet and take the quiz

HESI Skills Respiratory Collection

- Arterial Catheter Blood Sampling - review the extended sheet and take the quiz

# https://youtu.be/cw-NLUmHTv4  Arterial Line Removal Nursing Lecture (2016) live demonstration of arterial line removal on actual patient

# https://www.youtube.com/watch?v=9YzmimDY15s  Safe Set System from ICUmed 2012

Optional Videos

https://youtu.be/zfQf-KK5mCc Arterial Lines (Guide for Nursing Students by K. Sun, Army of Nurses  (2015) (25.3 min)  Explanations and visuals are good and easy to follow

https://youtu.be/aJmQepDWVqw Transducers in Invasive Pressure Monitoring (2016) (8.41 min) Basics of how a transducer works & why being level with phlebostatic axis is important.  See video at 4.20 minutes.  Note:  Heparin is not used with NS for adult patents

https://youtu.be/1naupO0IZOQ  Arterial Line Management & Nursing Care (2017) Mometrix.com (7.5 minute)   Good illustrations & explanations

Arterial Lines Exam & Clinical Study Guide		Kilpatrick		2020

- How many mmHg should the pressure bag be maintained?

300 mmhg

- List two reasons a patient would need an arterial line.

Monitor blood pressure directly.

Frequent sampling of blood

- What neurovascular and peripheral vascular assessments should be performed on a patient with an arterial line.

Check for numbness & tingling in the patients hand. Check if they can move that hand, specifically the fingers.

- What medications can be given through an arterial line?

`	You don’t generally put medications through an arterial line due to the possible tissue damage it can cause.

- What is the phlebostatic access and how does it relate to the arterial line transducer?

It is a point that corresponds to the right atrium and it reflects a patients hemodynamic status. You want to place the transducer at the point of the phlebostatic access.

- List three things to assess and document for arterial line removal

-assess the 5 P’s before removing arterial line

-assess coagulation studies prior to taking out the arterial line

-document the amount  of time you put pressure on the arterial line