Lab 2:  Arterial line Videos						2020

This is for your learning for exams and clinical.  For the HESI Skills listed utilize the LMS HESI calendar & HESI Across the Module sheet.  Study guide answers will be released on LMS before Muddy Waters #2.

For questions contact Ms. Kilpatrick

HESI Skills: Critical Care Collection

- Arterial Catheter Insertion (assisting) Care, and Removal - review the extended sheet and take the quiz

HESI Skills Respiratory Collection

- Arterial Catheter Blood Sampling - review the extended sheet and take the quiz

# https://youtu.be/cw-NLUmHTv4  Arterial Line Removal Nursing Lecture (2016) live demonstration of arterial line removal on actual patient

# https://www.youtube.com/watch?v=9YzmimDY15s  Safe Set System from ICUmed 2012

Optional Videos

https://youtu.be/zfQf-KK5mCc Arterial Lines (Guide for Nursing Students by K. Sun, Army of Nurses  (2015) (25.3 min)  Explanations and visuals are good and easy to follow

https://youtu.be/aJmQepDWVqw Transducers in Invasive Pressure Monitoring (2016) (8.41 min) Basics of how a transducer works & why being level with phlebostatic axis is important.  See video at 4.20 minutes.  Note:  Heparin is not used with NS for adult patents

https://youtu.be/1naupO0IZOQ  Arterial Line Management & Nursing Care (2017) Mometrix.com (7.5 minute)   Good illustrations & explanations

AnaKarina Millares-Rosiles

Arterial Lines Exam & Clinical Study Guide		Kilpatrick		2020

- How many mmHg should the pressure bag be maintained?

- 300 mmHg

- List two reasons a patient would need an arterial line.

- More accurate monitoring of BP (systolic, diastolic and mean arterial pressure)

- Frequent blood sampling so you don’t have to poke the patient every time you need blood. (ABG’s)

- What neurovascular and peripheral vascular assessments should be performed on a patient with an arterial line.

- Allen’s sign, zeroing the system, check for pressure accuracy, and neurovascular assessment (5 P’s: pulse, pallor, paresthesia, poikilothermia, pain, paralysis)

- What medications can be given through an arterial line?

- Not generally used to administer medication since many injectable drugs lead to serious damage if administered into an artery rather than a vein.

- What is the phlebostatic access and how does it relate to the arterial line transducer?

- This is the anatomical point that corresponds to the right atrium and accurately reflects a patient’s hemodynamic status. This relates to the arterial line transducer because you want to position the transducer at the phlebostatic axis.

- List three things to assess and document for arterial line removal

- Check that there’s a HCP order to discontinue arterial line

- Assess coagulation studies prior to taking out arterial line.

- Ensure tip remains sterile in case there’s an order to culture it.

- Document that you applied at least 15 mins of direct pressure on the site after removal

- Frequently assess 5 P’s to ensure the patient is okay after removal