Lab 2:  Arterial line Videos						2020

This is for your learning for exams and clinical.  For the HESI Skills listed utilize the LMS HESI calendar & HESI Across the Module sheet.  Study guide answers will be released on LMS before Muddy Waters #2.

For questions contact Ms. Kilpatrick

HESI Skills: Critical Care Collection

- Arterial Catheter Insertion (assisting) Care, and Removal - review the extended sheet and take the quiz

HESI Skills Respiratory Collection

- Arterial Catheter Blood Sampling - review the extended sheet and take the quiz

# https://youtu.be/cw-NLUmHTv4  Arterial Line Removal Nursing Lecture (2016) live demonstration of arterial line removal on actual patient

# https://www.youtube.com/watch?v=9YzmimDY15s  Safe Set System from ICUmed 2012

Optional Videos

https://youtu.be/zfQf-KK5mCc Arterial Lines (Guide for Nursing Students by K. Sun, Army of Nurses  (2015) (25.3 min)  Explanations and visuals are good and easy to follow

https://youtu.be/aJmQepDWVqw Transducers in Invasive Pressure Monitoring (2016) (8.41 min) Basics of how a transducer works & why being level with phlebostatic axis is important.  See video at 4.20 minutes.  Note:  Heparin is not used with NS for adult patents

https://youtu.be/1naupO0IZOQ  Arterial Line Management & Nursing Care (2017) Mometrix.com (7.5 minute)   Good illustrations & explanations

Arterial Lines Exam & Clinical Study Guide		Kilpatrick		2020

- How many mmHg should the pressure bag be maintained?

300 mmHg

- List two reasons a patient would need an arterial line.

Patients experiencing hemodynamic instability (to monitor blood pressure) or cardiac arrest or shock

- What neurovascular and peripheral vascular assessments should be performed on a patient with an arterial line.

Pain, Pulses, Pallor, Paresthesia, Paresis

Color, temperature, capillary refill, motor and sensory function

- What medications can be given through an arterial line?

Heparin is used only to keep the line patent but other than that no medications should be administered into the line.

- What is the phlebostatic access and how does it relate to the arterial line transducer? It is a reference point for zeroing out the hemodynamic measuring device, this helps give accurate diastolic and systolic readings.

- List three things to assess and document for arterial line removal

Assess Site, assess circulatory status distal to site, and document procedure in patients record.