Lab 2:  Arterial line Videos						2020

This is for your learning for exams and clinical.  For the HESI Skills listed utilize the LMS HESI calendar & HESI Across the Module sheet.  Study guide answers will be released on LMS before Muddy Waters #2.

For questions contact Ms. Kilpatrick

HESI Skills: Critical Care Collection

- Arterial Catheter Insertion (assisting) Care, and Removal - review the extended sheet and take the quiz

HESI Skills Respiratory Collection

- Arterial Catheter Blood Sampling - review the extended sheet and take the quiz

# https://youtu.be/cw-NLUmHTv4  Arterial Line Removal Nursing Lecture (2016) live demonstration of arterial line removal on actual patient

# https://www.youtube.com/watch?v=9YzmimDY15s  Safe Set System from ICUmed 2012

Optional Videos

https://youtu.be/zfQf-KK5mCc Arterial Lines (Guide for Nursing Students by K. Sun, Army of Nurses  (2015) (25.3 min)  Explanations and visuals are good and easy to follow

https://youtu.be/aJmQepDWVqw Transducers in Invasive Pressure Monitoring (2016) (8.41 min) Basics of how a transducer works & why being level with phlebostatic axis is important.  See video at 4.20 minutes.  Note:  Heparin is not used with NS for adult patents

https://youtu.be/1naupO0IZOQ  Arterial Line Management & Nursing Care (2017) Mometrix.com (7.5 minute)   Good illustrations & explanations

Arterial Lines Exam & Clinical Study Guide		Kilpatrick		2020

- How many mmHg should the pressure bag be maintained?

30mmHg

- List two reasons a patient would need an arterial line.

Arterial lines are mostly used in critical care. It is convenient when multiple blood draws are needed because we don’t have to stick the patient with a needle numerous times. Arterial lines are also used for close blood pressure monitoring

- What neurovascular and peripheral vascular assessments should be performed on a patient with an arterial line.

6 Ps. Pain, pulse, paralysis, pallor, poikilothermia, paresthesia

Capillary refill, O2 Sat, edema

- What medications can be given through an arterial line?

No medication should be given through an arterial line

- What is the phlebostatic access and how does it relate to the arterial line transducer?

Phlebostatic axis is regarded as the anatomical point that corresponds to the right atrium and reflects a patient’s hemodynamic status. It is the reference point for zeroing the arterial line transducer, which helps ensure various pressure readings

- List three things to assess and document for arterial line removal

It is important to ensure hemostasis and assess for bleeding. Peripheral pulse should be assessed and vital signs should be done every 5 min