| Normal Values |  |
| --- | --- |
| pH | 7.35-7.45 |
| PaCO2 | 35-45 |
| HCO3 | 22-26 |
| PaO2 | 80-100 mmHg |
| SaO2 or SpO2 | greater than 95% |

Arrows Method

- Determine if pH is up (alkaline) or down (acidic)

- Determine if PaCO2 and HCO3 are high or low

- Look at highs and lows or arrows going up and down - Arrows in opposite direction…Respiratory - Arrows in same direction…Metabolic

- Determine Compensation - If pH is normal…full compensation - If all results are abnormal…partial compensation - If one of either PaCO2 or HCO3 are normal…no compensation or uncompensated

Arterial Blood Gases

- Measured to determine oxygenation status and acid-base balance

- Obtained by arterial puncture or from an arterial catheter, usually in the radial or femoral artery

- are invasive and allow for intermittent analysis

- Continuous intrarterial blood gas monitoring is also possible via a fiberoptic sensor or an O2 electrode inserted into an atrial catheter

- Arterial catheter permits ABG sampling w/o repeated arterial punctures

| ABG Interpretation |  |  |  |  |
| --- | --- | --- | --- | --- |
|  | Causes | S/S | Interventions | NANDA |
| Respiratory Acidosis | Pneumonia Asthma Emphysema Drug Overdose Over sedation Head injury Chest injuries ALS Guillain-Barre Obesity ARDS Respiratory failure | Confusion Weakness Drowsiness Headache Blurred Vision Tachycardia Coma | Treat underlying cause O2 Bronchodilators TCDB Fluids Pulmonary Toilet Intubate Ventilate Hold narcotics and sedatives PEEP/Pressure support | Anxiety Ineffective airway clearance Impaired gas exchange Altered oral mucous membranes |
| Respiratory Alkalosis | Anxiety Fever Pain Infection Salicylate overdose PE Brain tumor Meningitis Hyperthyroidism Over ventilation | Hyperventilation Numbness/tingling in extremities Tetany Convulsions Dizziness Diaphoresis | Treat underlying cause Slow down breathing (paper bag/rebreathing mask) Analgesia Calcium Gluconate for tetany | Sensory/perceptual alterations Altered thought process Ineffective breathing pattern Anxiety Risk for injury |
| Metabolic Acidosis | Diabetic Ketoacidosis Starvation Poor renal function Systemic infections High fever Hypothyroidism Tissue anoxia Diarrhea | Weakness Confusion Stupor Kussmaul breathing Cardiac dysrhythmias Hypotension Hypokalemia | Treat underlying cause Give fluids Seizure precautions Neuro checks Monitor dysrhythmias Consider IV biCarb and avoid over tx | Decreased cardiac output Risk for sensory/perceptual alterations Risk for injury Risk for altered oral mucous membranes Risk for fluid volume deficit |
| Metabolic Alkalosis | Vomiting Nasogastric suction Intestinal fistulas Diuretic therapy (loops, thiazide) Hypokalemia Cushing’s Disease Hyperaldosteronism Alkali ingestion (antacids) BiCarb administration | Irritability Belligerence Confusion Dizziness Tingling of fingers and toes Hyperactive reflexes Tetany Convulsions Shallow respirations Fluid volume deficit | Treat underlying cause Correct fluid volume deficits Give Cl (NS or LR) KCl Diamox: diuretic that the excretion of HCO3 Ammonium CL | Fluid volume deficit Decreased cardiac output Risk for impaired gas exchange Risk for injury |
| Lungs control CO2 in the ECF and can alter acid/base in minutes (RABBIT) Kidneys regulate HCO3 in the ECF and can alter acid/base in hours to days (TURTLE) |  |  |  |  |

Mechanical Ventilation

Terms to Know

Ventilation: amount of air in the alveoli; normal is 4L/min

Perfusion: amount of blood flow through the pulmonary capillaries; normal is 5L/min

V/Q Ratio: the normal lung is 4:5 or 0.8 for gas exchange

Alveolar dead space: alveoli that get good gas supply but are not perfused w/blood; gas exchange reduced (pulmonary embolism)

Intrapulmonary Shunting: alveoli that gets good blood supply but no ventilation; gas exchange is reduced (atelectasis)

Settings of Mechanical Ventilators

Respiratory rate (f): number of breaths the ventilator delvers per minute

Tidal volume (VT): volume of gas delivered to pt during each ventilator breath; usual volume is 6-10 mL/kg

Oxygen concentration (FIO2): fraction of inspired oxygen delivered to pt; may be set between 21% (room air) and 100%; usually adjusted to maintain PaO2 greater than 60 mmHg and SpO2 level greater than 90%

Positive End-Expiratory Pressure (PEEP): positive pressure applied at the end of expiration of ventilator breaths; usual setting is 5 cm H2O

Pressure support: positive pressure used to augment pt’s inspiratory pressure; usual setting is 6-18 cm H2O

I:E ratio: duration of inspiration (I) to duration of expiration (E); usual setting is 1:2 to 1:1.5 unless IRV is desired

Inspiratory flow rate and time: speed w/ which the VT is delivered; usual setting is 40-80 L/min and time is 0.8-1.2 seconds

Sensitivity: determines the amount of effort the pt must generate to initiate a ventilator breath; may be set for pressure triggering or flow triggering; usual setting for pressure trigger is 0.5-1.5 cmH2O below baseline pressure and for a flow trigger is 1-3 L/min below baseline flow

High-pressure limit: regulates the maximal pressure the ventilator can generate to deliver the VT; when the pressure limit is reached the ventilator terminate the breath and spills the undelivered volume into the atmosphere; usual setting is 10-20 cm H2O above peak inspiratory pressure

Alarms and Possible Causes

High-pressure limit: secretions, coughing, gagging; pt fighting ventilator; condensate (water) in tubing; kinked or compressed tubing; increased resistance (bronchospasm); decreased compliance (pulmonary edema or pneumothorax)

Low-pressure limit: total or partial ventilator disconnect; loss of airway; ET tube/trach cuff leak

Apnea: respiratory arrest; oversedation; change in pt condition; loss of airway

High TV minute ventilation or RR: pain, anxiety; change in pt condition; excess condensate in tubing

Low TV or minute ventilation: change in pt’s breathing efforts; pt is disconnected/loose connection or leak in circuit; ET tube/trach cuff leak; insufficient gas flow

Ventilator inoperative or low battery: machine malfunction; unplugged, power failure, or internal batter not charged

Mechanical Ventilation

- The process by which the FIO2 is at 21% (room air) or greater and is moved in and out of the lungs by a mechanical ventilator

- Not curative

- Is a means of supporting patients until they recover the ability to breather independently

- Also serves as a bridge to long-term mechanical ventilation or until a decision is made to w/draw ventilator support

- Indications for mechanical ventilation

  - Apnea or impeding inability to breathe

  - Acute respiratory failure

  - Sever hypoxia

  - Respiratory muscle fatigue

Two types of mechanical ventilation

- Negative Pressure Ventilation

  - Involves the use of chambers that encase the chest or body and surround it w/intermittent subatomospheric or negative pressure

  - Iron Lung was first form of negative pressure ventilation; developed during polio epidemic

  - Does not require artificial airway

  - Used w/pt’s that have neuromuscular diseases, CNS disorders, diseases/injuries of spinal cord, and severe COPD

- Positive Pressure Ventilation

  - Primary method used with acutely ill pt’s

  - During inspiration ventilator pushes air into lungs under positive pressure; intrathoracic pressure is raised during lung inflation

  - Expirations occurs passively

  - Modes of PPV are categorized into two groups (1) volume ventilation and (2) pressure ventilation

Modes of Volume Ventilation

Ventilator modes: variable by which the pt and the ventilator interact to deliver effective ventilation

- Ventilator mode is based on how much WOB (work of breathing) the pt should or can perform

  - Determined by pt’s ventilator status, respiratory drive, and ABGs

  - Ventilator modes can be controlled or assisted

Assist-Control Mechanical Ventilation (ACV)

- Ventilator delvers a preset VT at a preset frequency

- PT CAN BREATHE FASTER THAN PRESET RATE BUT NOT SLOWER

- Allows pt some control over ventilation while providing some assistance

- Used in pt’s w/neuromuscular disorders, pulmonary edema, and acute respiratory failure

Calculate the minute volume ventilation for a patient with AC mode, TV 700 ml, FIO2 45%. set rate 8, resp rate 18.

8 X 700 = 5600,   10 X 700 = 7000, add 5600 + 7000 = 12,600 or 12.6 L/minute

If the AC mode was 10 and the pt’s RR was 10 then:  10 x 700 = 7000 or 7 L/minute.

Synchronized Intermittent Mandatory Ventilation (SIMV)

- Ventilator delvers a preset VT at a preset frequency in synchrony w/ pt’s spontaneous breathing

- Pt is able to breath spontaneously through ventilator circuit

- Pt receives preset FIO2 during spontaneous breaths but self-regulates rate and volume of those breaths

- Used during continuous ventilation and during weaning from the ventilator

- May also be combined with PSV (positive support ventilation)

- Benefits of SIMV: improved pt-ventilator synchrony, lower mean airway pressure, and prevention of muscle atrophy at pt takes on more of the WOB

- Disadvantages: if spontaneous breathing decreases when preset rate is low might not be adequately supported, pt’s being weaned may have increased muscle fatigue

Calculate the minute volume ventilation for a patient with SIMV of 4 with a RR of 16, FIO2 of 32%, ventilator TV-500 ml and pt TV-350ml.

4 x 500 = 2000 (ventilator), 16 Total breaths - 4 Vent breaths = 12 (pt breaths), 12 x 350 = 4200 (patient)

2000 + 4200 = 6200 or 6.2 L/minute

Modes of Pressure Ventilation

Pressure Support Ventilation (PSV)

- Positive pressure is applied to the airway only during inspiration and is used in conjunction w/pt’s spontaneous respirations

- Pt must be able to initiate a breath in the modality

- Pt determines inspiratory length, VT, and RR

- Is used w/continuous ventilation and during weaning; may also be used w/ SIMV

- NOT USED AS A SOLE VENTILATORY SUPPORT DURING ACUTE RESPIRATORY FAILURE DUE TO RISK OF HYPOVENTILATION

- Advantages: increased pt comfort, decreased WOB, decreased O2 consumption, and increased endurance conditioning

Pressure-Control Inverse Ratio Ventilation (PC-IRV)

- Combines pressure-limited ventilation w/an inverse ratio of inspiration (I) to expiration (E)

- Normal I/E ratio is 1:2

- Pt requires sedation w/ or w/o paralysis

- Indicated for pt’s w/acute respiratory distress syndrome (ARDS)

Airway Pressure Release Ventilation (APRV)

- Permits spontaneous breathing at any point during the respiratory cycle w/ a preset continuous positive airway pressure (CPAP) w/short timed pressure releases

- CPAP levels are adjusted to maintain oxygenation goals while timed releases are increased or decreased to meet ventilation goals

- Designed for pt’s w/ ARDS who require high pressure levels for alveolar recruitment

- Advantages: ability to permit spontaneous respirations; may reduce the need for deep sedation or paralytics

Positive End-Expiratory Pressure (PEEP)

- Ventilator maneuver which positive pressure is applied to airway during exhalation; keeps airways and alveoli open during exhalation

- Usually 5-10 cm of H2O

- Used to treat atelectasis

Continuous Positive Airway Pressure (CPAP)

- Prescribed amount of pressure is kept on the airways during both inspiration and expiration

- Used w/tight-fitting mask or ET or tracheal tube

- Increases WOB because pt must forcibly exhale against the CPAP

- USE W/CAUTION IN PT’S W/MYOCARDIAL COMPROMISE

- Used in TX of pt’s with obstructive sleep apnea

Bilevel Positive Airway Pressure (BPAP)

- Provides two levels of positive pressure higher inspiratory positive airway pressure and lower expiratory positive airway pressure long w/ O2

- Non-invasive and usually used w/tight-fitting mask

- Used as a weaning tool and for TX of sleep apnea

Patient Care Measures

- Suctioning

  - Use in-line or closed systems to maintain sterility

  - 100% O2 before, during, and after suctioning

  - DO NOT INSTILLSALINE INTO ET TUBE OR TRACH TUBE!!!

  - Hold breath during suctioning; if you can’t hold it neither can the pt

  - Keep suction on continuously when aspirating

  - Rinse catheter after use; keep the HME dry

  - Disable alarms temporarily during suctioning

  - Check all connection after completion

- Oral Hygiene

  - Look for floaters

  - Brush teeth 2X/day

  - No petroleum based lubricants near mouth or nose

  - Chlorhexidine mouth care greatly reduces incidence of ventilator associated pneumonia

  - NO DENTURES IF ORALLY INTUBATED

- Nutrition

  - Limit carbs for PPV pt’s; can contribute to increase in serum CO2 levels

  - NG tube feedings are preferred; if NG is not tolerated next step in TPN and then the use of PEG tubes for long-term ventilation