Blood pressure measurement accuracy is dependent upon factor/factors including:
A. correct cuff size

B. location of cuff size, arm position

C. correct cuff size, arm position, location of the cuff on the body 

D. location of the cuff on the body, correct cuff size

A blood pressure cuff that is too small on a patient will lead to,

A. No difference 

B. A false high reading

C. A false low reading

D. Won’t get a reading 

