## Slide 2: Effective: LOE I
check the delay/threshold settings to increase the time delay before the device alarms to reduce false warnings
Education on understanding the monitoring systems and the different alarms

## Slide 3: Possibly Effective: LOE I
Implementing standard alarm systems
Using “vibrotactile” alarms (armbands that vibrate when a patient’s alarm goes off; the armband would indicate which patient)
Competency assessments both on an initial and ongoing basis

## Slide 4: Summary
False alarms have desensitized care providers, and have led to fatal consequences for some patients. Initial and ongoing education on any old or new monitors that have alarms should be considered. Both manufacturers and care providers need to combine efforts in order to figure out appropriate solutions. The ultimate goal is the same for everyone: the best and safest care for the patient.