## Slide 1: Quality Assessment In Clinical Chemistry
Clinical Chemistry Week 2 Seminar

## Slide 2: Pre-analytical Factors
Pre-collection Issues
Cyclic Variations
  Circadian
  Infradian
  Intraindividual

## Slide 3: Pre-analytical Factors
Pre-collection Issues (cont.)
Patient Physical Variables
  Exercise
  Diet
  Stress
  Posture

## Slide 4: Pre-analytical Factors
Pre-collection Issues (cont.)
How variables affects tests and means to control
Blood Collection
Technique
Source
Preservative

## Slide 5: Pre-analytical Factors
Blood Collection (cont.)
Technique
Source
Preservative
Hemolysis
Patient Identification
Chain of Custody

## Slide 6: Pre-analytical Factors
Post Collection
Error-sample transportation
Processing sample
Urine
Biological variables
Timing
Sample stability

## Slide 7: Pre-analytical Factors
Error Detection
Delta checks
Criteria for rejection

## Slide 8: Reference Intervals
Definition
Outline for Establishing Reference Values
Pre-analytical variables
Statistical Confidence Interval

## Slide 9: Reference Intervals
Clinical Decision Limits
Predictive Value Theory
  Diagnostic sensitivity
  Diagnostic specificity

## Slide 10: Reference Intervals
Clinical Decision Limits
Predictive Value Theory (cont.)
  Predictive value of a positive test
  PV= TP
    TP + FP
  Predictive value of a negative test
  PV= TN
    TN + FN

## Slide 11: QC for Clinical Chemistry
Primary Analytical Goals
Calculations and Interpretation of Total Allowable error
  TE = Sum bias errors + 1.96 x SD
Proficiency Testing—internal and external

## Slide 12: QC for Clinical Chemistry
Quality Process Error Control and Error
  Levels of activity
  QC pools

## Slide 13: QC for Clinical Chemistry
Quality Process Error Control and Error (cont.)
  QC limits
    Westgard Rules
    Levy-Jennings Plot
  Out of contol—What to do